## Slide 1: ATOS Translator Guide
Date: 4/22/2021
Macro Name: dgATOS_Standard
Macro Description: Macro for ATOS TXT files
Created By: Rishi Rughooputh
Reference DCS USE ONLY: https://helpdesk.3dcs.com/WorkOrder.do?woMode=viewWO&woID=69299

## Slide 2: Objective
This guide will help you understand what file structure is required for the ATOS translator to work.
The format of the file needs to match the format of the sample file shown.
Any changes to the format may cause issue in reading the file correctly.
This package contains:
  2 ATOS Sample measurement files
    Single-sample file
    Multiple-samples file
  ATOS Translator
  PowerPoint Document highlighting different sections required in a sample file.
  PowerPoint Document showing how to import a translator & sample file to QDM3D & QDMWeb

## Slide 3: Single-Sample file format
Header Info
  JSN
  Date & Time
Each Measurement
  Feature name
  Attribute name
  Nominal value
  Upr Tol
    USL=Nominal + Upr Tol
  Lwr Tol
    LSL=Nominal + Lwr Tol
  Actual Measured
The date and time of the CSV file will be used
2
The CSV filename will be used
1
7
6
5
4
3
8

## Slide 4: Multiple-Sample file format
Header Info
  JSN
  Date & Time
Each Measurement
  Feature name
  Attribute name
  Nominal value
  USL
    Upr Tol=USL-Nominal
  LSL
    Lwr Tol=LSL-Nominal
  Actual Measured
1
7
6
5
4
3
The date and time of the CSV file will be used
2
8